Before acquisition, installation and use of UVC sources a risk assessment of the installation must be conducted. The assessment should be conducted in consultation with the local radiation protection coordinator.

This checklist is meant as a tool for risk assessment and the implementation of necessary safety measures.

| Date: |  | Signature (s): |  |
| --- | --- | --- | --- |

| Points to consider | Follow-up | Responsible for the follow-up | Deadline |
| --- | --- | --- | --- |
| Radiation protection and operation Who is the local radiation protection coordinator? Who is responsible for inspection and maintenance of the installation? Who is responsible for the room? Are the items in chapter 1 of Radiation protection – responsibility and task delegation studied and clarified? |  |  |  |
| Training/information Training; is any particular competence required? Who will provide the training? Any particular risk factors associated with unskilled users? Providing informing for others in the vicinity Correct use and maintenance of protective equipment Are emergency preparedness exercises needed? |  |  |  |

| Points to consider | Follow-up | Responsible for the follow-up | Deadline |
| --- | --- | --- | --- |
| Routines and procedures How to provide protection for those who work in or may have access to rooms with open UVC radiation? Start-up/shut-down procedures Emergency situations/preparedness Who will be notified in cases where alarm is sounded, and how? How will others in the vicinity be notified? Operation- and maintenance manuals in Norwegian? Inspection and maintenance Work that is done alone |  |  |  |
| Documentation Provisions for writing logs Notifying the local and central radiation protection coordinators? Should a more thorough risk assessment of the UVC installation be conducted, including the risks associated with incorrect use and the consequences in terms of exposure? |  |  |  |
| Location Can the radiation from the UVC source potentially influence close-by areas and equipment? Conditions of ownership and responsibility in relation to rooms and equipment Cleaning – special precautions needed? If so, contact the Building managemen section in the Campus services division. |  |  |  |

| Points to consider | Follow-up | Responsible for the follow-up | Deadline |
| --- | --- | --- | --- |
| Safety Safety switches on doors or elsewhere; or other devices that will switch off the UV source in the event of somebody entering the room/radiation field? Necessary shielding of the source; encasement? Are radiometers available? For mobile installations: How to ensure adequate safety? How to store UVC tubes in order to prevent incorrect use? The danger of explosion associated with high-pressure lamps Controlled access? Physical measures to keep UVC sources from theft, sabotage and damages from fire or water |  |  |  |
| Labelling/signposting UVC warning sign outside doors Light or sound signal outside door(s) when the source is in active use? Sufficient information on room-cards? Are safety switches on doors or elsewhere necessary? Is a separate apparatus card required? |  |  |  |
| Personal protective equipment Purchase UVC adapted goggles; existing UVC adapted goggles? Wear and tear, weak points, age, labelling Gloves Clothing providing total coverage of skin (long sleeves etc.) |  |  |  |