Central data about the apparatus might be

• Make, model, age, owner, serial number

• Type of laser

• Classification (IEC/American)

• Regulation labelling

• Wavelengths

• Continuous/pulsating laser (pulse duration, pulsation frequency)

• Effect/pulsation energy at different wavelengths

• Beam geometry

• Adjustment area (maximum, minimum) for power output/energy

Instrument-specific documentation

• Names of approved users

• Log writing in connection with use of the individual lasers

• Correctly filled-in room-card

• User’s guide

• Instructions for non-experts (cleaners, caretaker, visitors)

- Risk assessment documentation

Emergency procedures

• Procedures for how to handle different emergency situations (fire, water leakage, radiation injuries, etc).

• Should describe the correct procedure for turning off the apparatus, specify that there is no radiation unless the apparatus is turned on, procedures in the event of radiation injuries, contact information, reporting, etc.

• It is a good idea to use pictures/figures.

It is a good idea to choose a binder with a yellow front and back as the information binder.