Unit: IBT		Molecular Genetics and Microbiology						Date revised: 	04.06.2018
															Date signed:

Participants in the identification process (including their function): You (M.student/PhD/PostDoc/researcher), Supervisor (Professor)

| Student/employee/guest | Supervisor/leader |
| --- | --- |
| Name (Capital letters) | Signature | Name (Capital letters) | Signature |

Short description of the main activity/main process: Molecular genetics and microbiology

| ID nr | Activity/process | Existing documentation | Existing safety measures | Working alone allowed? (Y/N) | Registration in exposure index (E) or medical examination (M) required? (E/M) | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  | All lab work |  | Nitrile gloves are to be used for all lab work, vinyl gloves can be used in order to protect the sample (but does not offer the same protection to the user). | Evaluate each case | Evaluate each case |  |
| 1 | Acrylamide gel, making of | Procedure must be written before acrylamide is used | Nitrile gloves, protective eyewear, fume hood | Y | E, M | Procedure not currently performed |
| 2 | Agarose gel, making, running, Geldoc | Manual | GelRed and GelGreen are used for staining. Nitrile gloves should be used when handling GelRed or GelGreen gels. Protective eyewear (with UV filter), UV safety shield and nitrile gloves should be used when viewing gels on the transilluminator drawer. | Y |  | GelRed and GelGreen are considered safe to use, but gloves are recommended as a precaution. UV light may damage eye sight or cause sunburn. |
| 3 | Alginate isolation, purification and non-radioactive alginate assay | Protocols | Nitrile gloves, protective eyewear when using NaOH, fume hood when using ether. | Y |  | Risk evaluation according to which chemicals are used |
| 4 | Antibiotic-stock solution, make and use of | Lab-rules, relevant MSDSs | Nitrile gloves, handle powder only inside fume hood | Y | E, M (Chloramphenicol) | Chloramphenicol is listed in the exposure index |
| 5 | Work with liquid N2 | Regulation for filling and transport. NTNU HSE guidelines for work with chemicals and gasses | Glasses, thick gloves. Easily removed footwear. Avoid shoes with wide opening to avoid spilling N2 into the shoes. Suitable containers for transport. | Y* |  | Training necessary. *Requires sufficient ventilation. See following point regarding transport of N2 |
| 6 | Autoclave | Manual Operating instruction | Thermo-resistant gloves Instructions posted regarding not opening autoclave before temperature <80 °C, not overfilling bottles or closing bottle lids completely (to avoid broken bottles). | Y |  |  |
| 7 | Bacteria risk class 1 and recombinant bacteria | Approval: (GMM regulation)(”Godkjenning av laboratorier for innesluttet bruk av genmodifiserte mikroorganismer” (02.05.17 Helsedirektoratet) | Access to autoclave. Inactivation of genetically manipulated bacteria in contaminated material and waste. Use of lab coat is mandatory. Lab bench surfaces should be resistant to water, acid, alkali, solvents, disinfective agents, decontaminating agents and easy to clean. Transport between labs only in closed containers. Good microbiological practice as defined in http://www.lovdata.no/for/sf/ho/to-20011221-1600-018.html | Y |  | Rooms 3.200, 3.205, 3.207, 3.213, 3.219, 3.220, 3.224, 3.225, 3.226, 3.227, 3.229, 3.231 and 3.239 |
| 8 | Bacteria risk class 2 | Approval ”Godkjenning av laboratorier for innesluttet bruk av genmodifiserte mikroorganismer” (02.05.17 Helsedirektoratet) | According to risk assessment: Risk assessments: “Novel anti-infective agents from marine bacteria (19.04.07)” and “Sintef project no: 80117000” (14.011.08) and “Risikovurderinger og rutiner, arbeid med mikroorganismer i smitterisikogruppe 2” (28.05.09). | Y |  | Room 3.220 Separate rules. Contact HSE coordinator for further arrangement |
| 9 | Recombinant bacteria risk class 2 | Approval ”Godkjenning av laboratorier for innesluttet bruk av genmodifiserte mikroorganismer” (02.05.17 Helsedirektoratet) | Autoclave in building. Inactivation of genetically manipulated bacteria in contaminated material and waste. Use of lab coat and gloves mandatory. Lab bench surfaces should be resistant to water, acid, alkali, solvents, disinfective agents, decontaminating agents and easy to clean. Transport between labs only in closed containers. Restricted access to lab. Good microbiological practice (http://www.lovdata.no/for/sf/ho/to-20011221-1600-018.html). Biological hazard sign on door. Measures to minimize aerosols. Control of vectors (closed windows, no food in lab, general awareness of possible vectors) | Y |  | Room 3.220 Separate rules. Contact HSE coordinator for further arrangement |
| 10 | Bioanalyzer |  |  |  |  | No risk |
| 11 | Use of open flames – (e.g. sterilization with Bunsen burners) | Refer to the appropriate section in lab-rules | Bunsen burner must not be left burning | Y |  |  |
| 12 | Cellcracker (Mini bead beater) | Manual |  |  |  | No risk |
| 13 | General lab work | Laboratory handbook NTNU, MSDSs, EcoOnline system, signature for training/introduction to lab rules | Safety rules according to risk assessment | Y | Evaluate each case |  |
| 14 | DNA/RNA isolation and purification | Refer to respective kit protocols. Check MSDS of kit chemicals. | Use gloves and eye protection during steps including NaOH. Use fume hoods for procedures containing chloroform, phenol or if it is indicated in the kit manual. Dispose as risk waste if kit contains or require use of hazardous chemicals. | Y |  | Kits may contain hazardous chemicals. Check MSDS before use and discard waste as risk waste if necessary. |
| 15 | DNA/RNA kit for enzymatic modifications or clean up from reactions | Refer to respective kit protocols. Check MSDS of kit chemicals. | Use nitrile gloves or eye protection if the kit contains irritating fluids or proteases. Use fume hood if kit contains hazardous chemicals and dispose of as risk waste. | Y |  | Kits may contain hazardous chemicals. Check MSDS before use and discard waste as risk waste if necessary. |
| 16 | Electroporator, use of | Manual | Avoiding contact with high voltage by following user instructions from manual. | Y |  | No risk when used as stated in manual. |
| 17 | Environmental samples for cultivation and DNA isolation, preparation of | Risk assessment (projects) | According to risk assessment | Y | M, evaluate in each case | Risk evaluation by specific project |
| 18 | Enzyme-assays (i.e. beta-lactamase-assay, phosphoglucomutase-assay, epimerase assay...) | Relevant protocols | According to MSDSs of relevant chemicals | Y |  |  |
| 19 | Ethanol/dry ice bath | Lab-rules | Use thermo-resistant gloves and eye protection, loose-fitting (e.g. rubber) boots should not be used. | Y |  | Potential damage to eyes and frostbite |
| 20 | FPLC, running of | Refer to instrument instructions. Precaution at instrument. | According to MSDSs of relevant chemicals | Y |  |  |
| 21 | Luciferase measurements, Promega Luciferase Assay kit | Manuals | According to MSDSs of relevant chemicals | Y |  | No risk |
| 22 | Luminometer and fluorometer, use of | Manual | According to MSDSs of relevant chemicals | Y |  | No risk |
| 23 | Mammalian cells, class 2 | Risk evaluation and procedures must be written for each experiment/new organism. |  | Y | M, evaluate in each case | Room D4-106 (SINTEF). Separate rules for HTS/cell lab. Contact SINTEF for further arrangement. Hepatitis B vaccine offered. |
| 24 | Preparation of medias for growing bacteria | Recipe | According to MSDSs of relevant chemicals | Y |  | No risk |
| 25 | Mutagenesis using a mutagenic agent (e.g. Etylmethanesulfonate, methylethanesulfonate, nitrosoguanidine, UV) | Experimental procedure Risk assessment and approval from project leader | Nitrile gloves, fume hoods, requires written procedure and risk assessment for the experimental procedure (type-specific) including detoxifying waste and how to warn and protect others working in the laboratory. Description and risk assessments must be written and approved by the responsible project leader (signature). Approval is mandatory not only for each experimental procedure, but also for each new person to perform that procedure. | Y | E, M | Mutagenic agent may be listed in exposure index. |
| 26 | Nano-drop measurements of DNA/RNA | Manual |  | Y |  | No risk |
| 27 | Northern and Southern blotting | Manual | According to MSDSs of relevant chemicals. Gloves and lab coat, work in a fume hood if MOPS and/or formaldehyde is used. Usual precautions when working with UV light and DNA staining. | Y | E, M (formaldehyde, acrylamide) | Formaldehyde and acrylamide are listed in the exposure index. |
| 28 | PCR | PCR-manual | Fume hood when DMSO is added | Y |  |  |
| 29 | pH-adjustments | Manual | Nitrile gloves, eyewear, shoes/shoe bags with protection against acid/base spill, sufficient ventilation (fume hood/”cap”) | Y |  |  |
| 30 | Protein isolation and purification |  | According to MSDSs of relevant chemicals | Y |  | No risk (confer bacteria, sonication and chemicals used when applicable). |
| 31 | Proteingel-gels. Running of | CBS – manual https://www.expedeon.com/media/pdf/DCX-800IMNF.pdf Sambrook and Russell, Molecular Cloning: A laboratory manual. section A.8.42 | Nitrile gloves (e.g. protection against acrylamide), eyewear, staining and de-staining in fume hoods Protection against voltage (lid etc.) to avoid electrical shock. Avoid contact with de-staining reagents (methanol/acidic acid). | Y |  |  |
| 32 | Radioactivity work including use of scintillation counter | http://www.nt.ntnu.no/ibt/innsida-dokumentlager/HMS/Veileder%20for%20arbeid%20med%20radioaktivt%20materiale%20IBT.pdf Risk evaluation and procedures must be written for each experimental procedure Operating instruction scintillation counter. | Gloves, eye protection, lab coat, hood. Testing of work area for contamination after work. Department rules state that the local radiation- protection coordinator must pre-approve any users of radioactive compounds and experimental procedures must also be approved. The scintillation liquid used may contain dangerous solvents. | Y | E, M |  |
| 33 | Centrifugation (Sorvall + table) | Manual Operating instruction | Accurate balancing, accurate attachment of rotor, not exceed maximal G-forces for each type of tube | Y |  |  |
| 34 | Sonication | Manual Operating instruction | Ear protection. Pregnant women are not allowed to stay in the room during sonication. Sonication cabinet with sound absorbing material. Shut doors of the room where sonication is taking place, and post warning sign on door. | Y |  |  |
| 35 | Supercompetent or electrocompetent cells, making of |  | Eye protection, gloves and protective shoes/shoe bags when handling liquid nitrogen or ethanol/dry ice bath. Shoes must be easy to take off in case of spill into (never use rubber boots) | Y |  |  |
| 36 | Transformation |  |  | Y |  | No risk |
| 37 | Ultrasound waterbath, use of | Operating instruction | Ear protection. Pregnant women are not allowed to stay in the room during sonication, close the door and post warning sign. | Y |  |  |
| 38 | UV/Vis Spectrophotometer |  | Avoid skin/eye exposure to UV light. Never disassemble the instrument. Follow instructions/manual when changing light bulb. | Y |  | No risk |
| 39 | Fume hoods, use of | Operating instruction | Opening minimized when not in use, keep the hood-opening small when in use (for efficient protection). | Y |  |  |
| 40 | Dishwasher, use of | Manual |  | Y |  | No risk |
| 41 | Waterbaths and shaking waterbaths, (heat and water quality) | Manual | Timer on water baths. Large water baths (> 1 L) are not to be used to boil small samples. Put up notices if heating the water baths at temperatures > 70°C. | Y |  |  |
| 42 | Western blotting |  | Chemicals. Avoid contact with buffers (e.g. methanol). | Y |  |  |

Unit: 		IBT  - Microbial biotechnology							Date: 	04.06.2018

Line manager: Kjetil Rasmussen

Participants in the identification process (including their function): You (M.student/PhD/PostDoc/researcher), Supervisor (Professor)

| ID nr | Activity from the identification process form | Potential undesirable incident/strain | Likelihood: | Consequence: |  | Risk value | Comments/ status Suggested measures |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Likelihood (1-5) | Human (A-E) | Environment (A-E) | Economy/ material (A-E) | Reputation (A-E) |  |  |
| 2 | Agarose gel electrophoresis | Long term health risk from GelRed and GelGreen (unknown effect) | 1 | Unknown | A | A | B | Unknown | Gelred and Gelgreen is said not to penetrate cell membranes, and thus should not act as mutagen even if it is DNA-binding. Gloves also minimize the risk for exposure. |
| 2 |  | UV-light: skin or eye damage | 2 | B | A | A | B | B2 | UV damage to unprotected skin/eyes if instructions not followed |
| 5 | Work with liquid N2 | Frostbite | 2 | C | A | A | B | C2 | Follow regulations for filling/transport. Oxygen measurement? |
| 5 | Work with liquid N2 | Suffocation | 1 | E | A | A | E | E1 | Follow regulations for filling/transport. Oxygen measurement? |
| 6 | Autoclave | Rapid pressure fall due to opening the autoclave to soon may cause burns on eye or skin | 2 | C | A | A | B | C2 | Will not happen if instructions are followed |
| 7 | Bacteria class 1 and recombinant bacteria | Release of GMO to environment Bacterial infections | 2 | A | A | A | B | A2 | Low risk because of strict regulations and good lab practise. |
| 8 | Bacteria class 2 | Bacterial infections. Release of infective, pathogen bacteria to environment. | 2 | C | B | A | C | C2 | Low risk because of strict regulations and good lab practise. |
| 9 | Recombinant bacteria class 2 | Bacterial infections. Release of infective, pathogen gene manipulated bacteria to environment. | 2 | C | B | A | C | C2 | Low risk because of strict regulations and good lab practice. |
| 11 | Bunsen burners | Skin burns | 3 | B | A | A | A | B3 | New rules how to handle burners+ ethanol baths already installed. |
| 11 | Bunsen burners | Initiation of fire. | 3 | C | A | B | A | C3 | New rules how to handle burners + ethanol baths already installed. |
| 13 | General lab work | Deviation from established safety rules and routines | -- | -- | -- | -- | -- | -- | No injuries requiring more than simple first aid in these laboratories for the past 5 years, the present routines seem sufficient |
| 14 | DNA/RNA isolation and purification | Exposure for dangerous for health chemicals: Phenol-chloroform mix | 2 | C | A | A | B | C2 | Work with phenol-chloroform mix require the use of fume hood. All liquid waste should be collected and handed off to lab engineer. Disposable waste should be placed in a special box for hazardous materials. |
| 17 | Environmental samples for cultivation and DNA isolation, preparation of | Bacterial infections, production of toxic/infectious compounds from cloned DNA. Usage of hazardous compounds (e.g. chloroform) for DNA isolation. | 1 | unknown | A | A | C | 1 - unknown | In general mild injuries, that can be avoided by present routines and sensible carefulness during lab work. |
| 19 | Dry ice/ethanol | Eye injury. Frostbite | 1 | B | A | A | B | B1 | Eye-protection and Gloves for handling the Dry ice |
| 20 | FPLC, running of | Leakage of buffer | 2 | See MSDS | A | A | Depends on injury | A1 |  |
| 22 | Luminometer and fluorometer, use of | Possible exposure health injurious chemicals. | 2 | A | A | A | A | A2 | See MSDS for relevant chemicals |
| 23 | Mammalian cells, class 2 | Exposure to biological agents, infections. | 2 | D | A | A | D | D2 | Applying aseptic procedures. Good microbiological practices. |
| 25 | Mutagenesis using a mutagenic agent (e.g. Etylmethanesulfonate, methylethanesulfonate, nitrosoguanidine, UV) | Exposure to mutagens | 1 | E | A | A | E | E1 | Probably too small amounts to ever damage the environment. Because of the known risk of cancer, these experiments are always conducted with extreme caution, and using gloves and fume hoods. |
| 27 | Northern/Southern | Exposure to injurious chemicals. Northern blot may involve formaldehyde and acrylamide which are toxic, thus fume hood and protective clothing must be used. Due to the use of toxic chemicals special disposal methods are required. | 1 | C | A | A | A | C1 |  |
| 28 | PCR | Exposure to DMSO when used | 1 | A | A | A | A | A1 | PCR-machine should be in fume hood when DMSO is added, use lab coat and gloves |
| 29 | pH-adjustments | Exposure to corrosive chemicals: Skin and eye damage | 2 | B | A | A | B | B2 | Eye-protection and lab coat |
| 31 | Protein gel-eletrophoresis | Electrical shock | 1 | E | A | A | C | E1 |  |
| 32 | Radioactivity work including use of scintillation counter | Health injury as result of radiation (external, internal as result of uptake). Radioactive contamination of working environment. | 1 | E | A | A | E | E1 |  |
| 33 | Centrifugation (Sorvall + table) | Damage caused by loose rotor | 1 | C | A | B | C | C1 |  |
| 34 | Sonication | Damage to hearing (including foetus) | 1 | C | A | A | B | C1 |  |
| 34 |  | Creation of injurious aerosols (infectious microorganisms, toxic agents) |  |  |  |  |  |  |  |
| 35 | Supercompetent or electrocompetent cells, making of | Exposure of skin and eyes to extremely cold liquid (nitrogen or ethanol) | 2 | C | A | A | B | C2 | Conducted with extreme caution, and using eye-protection and gloves. |
| 37 | Ultrasound waterbath, use of | Damage to hearing (including foetus) | 1 | C | A | A | B | C1 |  |
| 39 | Fume hoods, use of | Exposure to hazardous chemicals due to insufficient airflow (effects on local hood or other hoods) | 1 | C | A | A | B | C1 | Can be prevented by maintaining sufficient airflow |
| 41 | Waterbaths and shaking waterbaths, (heat and water quality) | Electrical hazards, Burns | 1 | B | B | A | A | B1 | Regular service by trained personnel. Heat-proof gloves must be used during handling of hot items. Hot surfaces must be labelled with warning signs. |
| 42 | Western blotting | Exposure to hazardous chemicals | 1 | See MSDS | A | A | Depends on injury | A1 |  |

| Likelihood, e.g.: | Consequence, e.g.: | Risk value (each one to be estimated separately): |
| --- | --- | --- |
| Minimal Low Medium High Very high | A. Safe B. Relatively safe C. Dangerous D. Critical E. Very critical | Human = Likelihood x Human Consequence Environmental = Likelihood x Environmental consequence Financial/material = Likelihood x Consequence for Economy/materiel |

Potential undesirable incident/strain

Identify possible incidents and conditions that may lead to situations that pose a hazard to people, the environment and any materiel/equipment involved.

Criteria for the assessment of likelihood and consequence in relation to fieldwork

Each activity is assessed according to a worst-case scenario. Likelihood and consequence are to be assessed separately for each potential undesirable incident. Before starting on the quantification, the participants should agree what they understand by the assessment criteria:

Likelihood

| Minimal 1 | Low 2 | Medium 3 | High 4 | Very high 5 |
| --- | --- | --- | --- | --- |
| Once every 50 years or less | Once every 10 years or less | Once a year or less | Once a month or less | Once a week |

Consequence

| Grading | Human | Environment | Financial/material |
| --- | --- | --- | --- |
| E Very critical | May produce fatality/ies | Very prolonged, non-reversible damage | Shutdown of work >1 year. |
| D Critical | Permanent injury, may produce serious serious health damage/sickness | Prolonged damage. Long recovery time. | Shutdown of work 0.5-1 year. |
| C Dangerous | Serious personal injury | Minor damage. Long recovery time | Shutdown of work < 1 month |
| B Relatively safe | Injury that requires medical treatment | Minor damage. Short recovery time | Shutdown of work < 1week |
| A Safe | Injury that requires first aid | Insignificant damage. Short recovery time | Shutdown of work < 1day |

The unit makes its own decision as to whether opting to fill in or not consequences for economy/materiel, for example if the unit is going to use particularly valuable equipment. It is up to the individual unit to choose the assessment criteria for this column.

Risk = Likelihood x Consequence

Please calculate the risk value for “Human”, “Environment” and, if chosen, “Economy/materiel”, separately.

About the column ”Comments/status, suggested preventative and corrective measures”:

Measures can impact on both likelihood and consequences. Prioritise measures that can prevent the incident from occurring; in other words, likelihood-reducing measures are to be prioritised above greater emergency preparedness, i.e. consequence-reducing measures.

# Risk assessment matrix NTNU

| CONSEQUENCE | Very serious | E1 | E2 | E3 | E4 | E5 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Serious | D1 | D2 | D3 | D4 | D5 |
|  | Moderate | C1 | C2 | C3 | C4 | C5 |
|  | Small | B1 | B2 | B3 | B4 | B5 |
|  | Very small | A1 | A2 | A3 | A4 | A5 |
|  |  | Very small | Small | Moderate | High | Very high |
|  |  | PROBABILITY |

Color-coding in the risk assessment matrix

| Color | Description |
| --- | --- |
| Red |  | Unacceptable risk. Measures must be implemented to reduce risk. |
| Yellow |  | Evaluation area. Evaluate whether measures need to be implemented. |
| Green |  | Acceptable risk. Measures may be considered based on other factors. |