Unit: IBT		MicPhys lab (rooms 3.108, 3.109, 3.113, 3.115)						Date: 2015-08-31 	updated 2018-08-28

PB

Participants in the identification process (including their function): Kåre A. Kristiansen (Senior engineer) & Per Bruheim (professor)

Short description of the main activity/main process: Metabolomics/fermentation/analytic chemistry

| Student/employee/guest | Supervisor/leader |
| --- | --- |
| Name (Capital letters) | Signature | Name (Capital letters) | Signature |

| ID nr | Activity/process | Responsible person | Existing documentation | Existing safety measures | Laws, regulations etc. | Work alone allowed? | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Freeze drying |  | Manual + procedure | Safety goggles Nitrile-gloves when handling vacuum-oil Disposal of waste oil |  | Yes | Training required |
| 2 | Gas flasks/tanks |  |  | Secured by chains to prevent tilting. |  | No | Training in how to work the valve is recommended. |
| 3 | Concentrated acids/bases |  | Material Safety data sheet | Safety goggles, nitrile gloves, fume hood, shoes that protect against corrosion or chemically resistant shoe bags | NTNU HSE guidelines regarding working with chemicals | Yes | New procedure regarding chemical spills will come soon. |
| 4 | Work with liquid N2 |  | Regulation for filling and transportation of liquid nitrogen | Safety goggles, thick gloves (thermo resistant), Footwear must be easy to remove, avoid boots with wide openings to avoid N2 accumulation inside the boot. Use specified containers for transportation. | NTNU HSE guidelines regarding working with chemicals and gasses. | Yes | Training required See separate risk assessment for transportation of N2 in K:\... |
| 5 | Derivatization of LMW org. acids for mass spec detection: a) Labelling with o-BHA and EDC. b) Liq-liq. extraction using ethyl acetate |  | Material Safety data sheet | Safety goggles, nitrile gloves, lab coat, fume hood or fume point. Waste/solutions are collected for disposal. | NTNU HSE guidelines regarding working with chemicals. | Yes | Students are given material and safety data sheets |
| 6 | Derivatization of amino acids for mass spec detection using propyl chloroformate. a) Derivatization with PCF. b) Liq-liq. extraction using heptane. |  | Material Safety data sheets | Safety goggles, nitrile gloves, lab coat, fume hood. Waste solutions are collected and emptied at room K5-116 in waste container for halogenated substances (pcf). | NTNU HSE guidelines regarding working with chemicals and gases. | Yes | Students are made aware of material and safety data sheets. Special attention to pyridine, PCF, NaOH, and heptane. |
| 7 | Derivatization low molecular weight compounds with BioCrates kit for mass spec detection: Derivatization using kit instructions. Analysis on LC-MS system. |  | Material Safety data sheets. Instructions from BioCrates (kit manufacturer). You can get these from BioCrates or Kåre Kristiansen (IBT). | Safety goggles, nitrile gloves, lab coat, fume hood. Waste solutions are collected and emptied at room K5-116 in waste container for non-halogenated waste. | NTNU HSE guidelines regarding working with chemicals. | Yes | Operators are made aware of material and safety data sheets. Special attention to phenyl isothiocyanate PITC, pyridine and acetonitrile. |
| 8 | Use of fermentors | Kåre A. Kristiansen | Available manuals |  | Anti foam need to be available, Protective clothing: lab coat, gloves during sampling. All waste need to be autoclaved. | Yes | Training required |
| 9 | Use of Cell lab |  | Dedicated lab rules | Dedicated lab coats need to be used, restricted access to only users of the lab | All waste need to autoclaved | Yes | Training required |
| 10 | Sampling for metabolite analysis |  | Standard operating procedures are available for both suspension and adherent protocol | Protective clothing during snap freezing and freeze-thaw operations (see point 4) |  |  | Training required |
| 11 | Stress response experimentation |  |  | New risk assessment for use of bioactive compounds |  |  |  |
| 12 | Autoclave |  | Available manual |  |  |  | Training required |
| 13 | Solid phase extraction with Waters Oasis sample plates. |  | Material Safety data sheets | Gloves when handling organic solvents. ACN, MetOH, IPA. Safety googles when handling larger volumes >1mL. Organic solvents handeled in fumehood. | NTNU HSE guidelines regarding working with chemicals. | YES | Organic solvents are disposed in organic solvent waste. |
| 14 | Liquid-liquid extraction. |  | Material Safety data sheets | Gloves when handling organic solvents. ACN, MetOH, IPA and heptane. Safety googles when handling larger volumes >1mL. Organic solvents handeled in fumehood. | NTNU HSE guidelines regarding working with chemicals. | YES | Organic solvents are disposed in organic solvent waste. |
| 15 | Make and use antibiotic stock solutions |  | Material Safety Data Sheets | Nitrile gloves, handle powder only inside fume hood or using dust mask. | Chloramphenicol should be registered in exposure register | Yes |  |
| 16 | Lipid extraction from animal tissue, plasma and algae. Procedure utilizes mixture of CHCl3 and methanol and bead homogenizer. Homogenizer might need liquid nitrogen. |  | Material Safety Data Sheets | Nitrile gloves, fumehood, googles. | NTNU HSE guidelines regarding working with chemicals. | YES | Organic solvents are disposed in organic solvent waste. |

Unit: 		IBT	-  Metabolomics								Date: 	2017-06-20

Line manager: Kjetil Rasmussen

Participants in the risk assessment (including their function): Kåre A. Kristiansen (Senior eng.), Per Bruheim (professor)

| ID nr | Activity from the identification process form | Potential undesirable incident/strain | Likelihood: | Consequence: |  | Risk value | Comments/status Suggested measures |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Likelihood (1-5) | Human (A-E) | Environment (A-E) | Economy/ material (A-E) | Reputation (A-E) |  |  |
| 1 | Freeze-drying | Cuts/injuries as a result of imploding flasks | 2 | B | A | A | A | 2B | Use gloves when handling vacuum-oil |
|  |  | Exposure to harmful oil vapor | 4 | B | A | A | B | 4B |  |
| 2 | Gas flasks/tanks | Personal injury due to tilting gas-flasks/tanks. (also explosion) | 1 | B | A | B | A | 1B | Replacing gas flasks must be done by experienced personell. |
| 3 | Concentrated acids/bases | Chemical burns | 2 | B | A | A | A | 2B |  |
| 4 | Working with liquid N2 | Frostbite | 2 | C | A | A | B | 2C | Follow rules for filling bottles and transportation. |
| 5 | Derivatization of LMW org. acids for mass spec detection | Inhalation of carcinogenetic or toxic substances, or exposure to chemicals that can cause fetal damage. | 1 | D | B | B | C | 1D | All work with solutions must be done in fumehood using protective gloves and googles. |
| 6 | Derivatization of amino acids for mass spec detection using propyl chloroformate. | Inhalation of toxic substances. | 1 | D | B | B | C | 1D | All work with solutions must be done in fumehood using protective gloves and googles. |
| 7 | Derivatization low molecular weight compounds with BioCrates kit for mass spec detection: | Contact with toxic substances. | 1 | D | B | B | C | 1D | All work with solutions should be done in fumehood using protective gloves and safety googles. |
| 8 | Use of fermentors | Spill of recombinante organisme | 2 | B | B | A | B | 2B |  |
| 8 |  | Contact exposure to acids and bases | 2 | B | A | A | B | 2B |  |
| 8 |  | Contact exposure to heated surface and open flame during sterilization | 3 | B | A | A | A | 3B |  |
| 9 | Use of Cell lab | Hot surfaces and steam | 2 | C | A | A | B | 2C |  |
| 10 | Sampling for metabolite analysis | Exposure to liquid nitrogen | 2 | C | A | A | B | 2C |  |
| 11 | Stress response experimentation | Exposure to hazardous chemicals | 1 | E | B | A | B | 1E | Only very dilute samples |
| 12 | Autoclave | Hot surfaces and steam | 2 | C | A | A | B | 2C |  |
| 13 | Solid phase extraction with Waters Oasis sample plates. | Spill of chemicals on the skin/eyes. | 1 | A | A | A | A | 1A |  |
| 14 | Liquid-liquid extraction. | Spill of chemicals on the skin/eyes. | 1 | A | A | A | A | 1A |  |
| 15 | Make and use antibiotic stock solutions | Exposure to/inhalation of antibiotic powder | 3 | C | B | A | B | 3C | Use dust mask to prevent exposure to powder. |
| 16 | Lipid extraction | Spill of chemicals on hands and eyes | 3 | B | A | A | B | 3B |  |

| Likelihood, e.g.: | Consequence, e.g.: | Risk value (each one to be estimated separately): |
| --- | --- | --- |
| Minimal Low Medium High Very high | A. Safe B. Relatively safe C. Dangerous D. Critical E. Very critical | Human = Likelihood x Human Consequence Environmental = Likelihood x Environmental consequence Financial/material = Likelihood x Consequence for Economy/materiel |

Potential undesirable incident/strain

Identify possible incidents and conditions that may lead to situations that pose a hazard to people, the environment and any materiel/equipment involved.

Criteria for the assessment of likelihood and consequence in relation to fieldwork

Each activity is assessed according to a worst-case scenario. Likelihood and consequence are to be assessed separately for each potential undesirable incident. Before starting on the quantification, the participants should agree what they understand by the assessment criteria:

Likelihood

| Minimal 1 | Low 2 | Medium 3 | High 4 | Very high 5 |
| --- | --- | --- | --- | --- |
| Once every 50 years or less | Once every 10 years or less | Once a year or less | Once a month or less | Once a week |

Consequence

| Grading | Human | Environment | Financial/material |
| --- | --- | --- | --- |
| E Very critical | May produce fatality/ies | Very prolonged, non-reversible damage | Shutdown of work >1 year. |
| D Critical | Permanent injury, may produce serious health damage/sickness | Prolonged damage. Long recovery time. | Shutdown of work 0.5-1 year. |
| C Dangerous | Serious personal injury | Minor damage. Long recovery time | Shutdown of work < 1 month |
| B Relatively safe | Injury that requires medical treatment | Minor damage. Short recovery time | Shutdown of work < 1week |
| A Safe | Injury that requires first aid | Insignificant damage. Short recovery time | Shutdown of work < 1day |

The unit makes its own decision as to whether opting to fill in or not consequences for economy/materiel, for example if the unit is going to use particularly valuable equipment. It is up to the individual unit to choose the assessment criteria for this column.

Risk = Likelihood x Consequence

Please calculate the risk value for “Human”, “Environment” and, if chosen, “Economy/materiel”, separately.

About the column ”Comments/status, suggested preventative and corrective measures”:

Measures can impact on both likelihood and consequences. Prioritize measures that can prevent the incident from occurring; in other words, likelihood-reducing measures are to be prioritized above greater emergency preparedness, i.e. consequence-reducing measures.

# Risk assessment matrix NTNU

| CONSEQUENCE | Very serious | E1 | E2 | E3 | E4 | E5 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Serious | D1 | D2 | D3 | D4 | D5 |
|  | Moderate | C1 | C2 | C3 | C4 | C5 |
|  | Small | B1 | B2 | B3 | B4 | B5 |
|  | Very small | A1 | A2 | A3 | A4 | A5 |
|  |  | Very small | Small | Moderate | High | Very high |
|  |  | PROBABILITY |

Color-coding in the risk assessment matrix

| Color | Description |
| --- | --- |
| Red |  | Unacceptable risk. Measures must be implemented to reduce risk. |
| Yellow |  | Evaluation area. Evaluate whether measures need to be implemented. |
| Grønn |  | Acceptable risk. Measures may be considered based on other factors. |